## Assumptions
Color key | Changed from PowerWorld & input into OPF
Changed from PowerWorld but not relevant to OPF
Load scaling factor | 142.2%
2022 "scaled up" to 2040 projection |  | Gen1 | Gen2 | Gen3a | Gen3b | [9 empty] | Load2 | Load3 | Load4 | Load5
Datetime | Load | Solar | Wind | Large Hydro | RE other | PGAE LMP | SCE LMP | SDGE LMP | VEA LMP | PGE | SCE | SDGE | VEA | CAISO | PGE Adj Load | SCE Adj Load | SDGE Adj Load | VEA Adj Load | CAISO Adj Load
2022-08-31 16:00 | 63039.5489 | 60734.2078 | 7993.8 | 3028.0833 | 1682.5 | 157.1992 | 196.037 | 194.4579 | 182.516 | 16310.22 | 23925.9 | 3979.28 | 140.01 | 44355.41 | 23186.6087 | 34013.0594 | 5656.9444 | 199.0382 | 63055.6509
Divide MW by 100 | 630.3955 | 607.3421 | 79.938 | 30.2808 | 16.825 |  |  |  |  | 163.1022 | 239.259 | 39.7928 | 1.4001 | 443.5541 | 231.8661 | 340.1306 | 56.5694 | 1.9904 | 630.5565

## Line
From Number | From Name | To Number | To Name | Circuit | Status | Branch Device Type | Xfrmr | R | X | B | Lim A MVA | Lim B MVA | Lim C MVA
1 | One | 2 | Two | 1 | Closed | Line | NO | 0 | 0.06 | 0.5 | 150 | 150 | 150
1 | One | 3 | Three | 1 | Closed | Line | NO | 0 | 0.24 | 0.05 | 150 | 150 | 150
2 | Two | 3 | Three | 1 | Closed | Line | NO | 0 | 0.18 | 0.04 | 120 | 120 | 120
2 | Two | 4 | Four | 1 | Closed | Line | NO | 0 | 0.18 | 0.04 | 100 | 100 | 100
2 | Two | 5 | Five | 1 | Closed | Line | NO | 0 | 0.12 | 0.03 | 200 | 100 | 100
3 | Three | 4 | Four | 1 | Closed | Line | NO | 0 | 0.03 | 0.02 | 222 | 100 | 100
4 | Four | 5 | Five | 1 | Closed | Line | NO | 0 | 0.24 | 0.05 | 60 | 100 | 100

## Load
Number of Bus | Name of Bus | Area Name of Load | Zone Name of Load | ID | Status | MW | Mvar | MVA | S MW | S Mvar | Price | Original MW | Original Mvar | Original MVA | Original S MW | Original S Mvar
2 | Two | Top | 1 | 1 | Closed | 231.8661 | 113.6144 | 258.1829 | 231.8661 | 115.933 | 157.1992 | 40 | 19.6 | 44.54 | 40 | 20
3 | Three | Top | 1 | 1 | Closed | 340.1306 | 88.8875 | 351.559 | 340.1306 | 90.7015 | 196.037 | 150 | 39.2 | 155.04 | 150 | 40
4 | Four | Top | 1 | 1 | Closed | 56.5694 | 20.7893 | 60.2677 | 56.5694 | 21.2135 | 194.4579 | 80 | 29.4 | 85.23 | 80 | 30
5 | Five | Top | 1 | 1 | Closed | 1.9904 | 0.60018 | 2.0789 | 1.9904 | 0.61243 | 182.516 | 130 | 39.2 | 135.78 | 130 | 40

## Gen
Number of Bus | Name of Bus | ID | Status | Gen MW | Gen Mvar | Set Volt | AGC | AVR | Min MW | Max MW | Min Mvar | Max Mvar | Cost Model | Part. Factor | Original Gen MW | Original Gen Mvar | Original Max MW
1 | One | 1 | Closed | 144.67 | 15.31 | 1.05 | YES | YES | 0 | 607.3421 | -9900 | 9900 | None | 1 | 144.67 | 15.31 | 400
2 | Two | 1 | Closed | 29.2973 | 11.4535 | 1.04 | YES | YES | 0 | 79.938 | -9900 | 9900 | None | 1 | 183.25 | 71.64 | 500
4 | Four | 1 | Closed | 11.318 | 1.0395 | 1 | YES | YES | 0 | 47.1058 | -9900 | 9900 | None | 1 | 72.08 | 6.62 | 300

## Bus
Number | Name | Area Name | Nom kV | PU Volt | Volt (kV) | Angle (Deg) | Load MW | Load Mvar | Gen MW | Gen Mvar | Switched Shunts Mvar | Act G Shunt MW | Act B Shunt Mvar | Area Num | Zone Num
1 | One | Top | 138 | 1.05 | 144.9 | 7.45 |  |  | 144.67 | 15.31 |  | 0 | 0 | 1 | 1
2 | Two | Top | 138 | 1.04 | 143.52 | 4.89 | 231.8661 | 113.6144 | 29.2973 | 11.4535 |  | 0 | 0 | 1 | 1
3 | Three | Top | 138 | 1.0004 | 138.056 | -0.87 | 340.1306 | 88.8875 |  |  |  | 0 | 0 | 1 | 1
4 | Four | Top | 138 | 1 | 138 | -0.38 | 56.5694 | 20.7893 | 11.318 | 1.0395 |  | 0 | 0 | 1 | 1
5 | Five | Top | 138 | 0.99191 | 136.883 | -2.68 | 1.9904 | 0.60018 |  |  |  | 0 | 0 | 1 | 1

## YBus
Number | Name | Bus 1 | Bus 2 | Bus 3 | Bus 4 | Bus 5
1 | One | 0.00 - j20.56 | -0.00 + j16.67 | -0.00 + j4.17
2 | Two | -0.00 + j16.67 | 0.00 - j35.81 | -0.00 + j5.56 | -0.00 + j5.56 | -0.00 + j8.33
3 | Three | -0.00 + j4.17 | -0.00 + j5.56 | 0.00 - j43.00 | -0.00 + j33.33
4 | Four |  | -0.00 + j5.56 | -0.00 + j33.33 | 0.00 - j43.00 | -0.00 + j4.17
5 | Five |  | -0.00 + j8.33 |  | -0.00 + j4.17 | 0.00 - j12.46